Analysis of Curcumin in Curcuma Extract

---by  Ultraviolet / Visible Spectro-meter

1. Standard preparation: Weigh accurately approximately 20mg curcumin and dissolve it in a 100ml volumetric with 95% ethanol. Then dilute to volume with 95% ethanol. Transfer 10ml to another 100ml volumetric and dilute to volume with 95%ehanol. The concentration of the standard will be approximately 0.02mg/ml .

2. Sample preparation: Weigh 20-30mg sample and dry , dissolve it in a 100ml volumetric with 95% ethanol. Then dilute to volume with 95% ethanol. Transfer 10ml to another 100ml volumetric and dilute to volume with 95%ehanol.

3. Blank preparation: Ehanol with the concetration of 95% will be the blank.

4．Analysis：

Wavelengh：λmax＝426nm

Equipment：UV-VIS

Turn on the spectrophotometer and adjust the wavelengh to 426nm. Allow the instrument to warm up for thirty (30) minutes.

Zero the instrument with blank solution.

Read and record the absorbances.

5. Calculations：Calculate the result according to the  absorbances records of sample and standard.