HPLC METHOD FOR THE ESTIMATION OF (-) HCA

Equipment:

- Analytical balance with 0.1 mg accuracy.

- HPLC system (shimadzu) with:

- LC-1OAT pump

- SPD-10A detector

- Rheodyne injector

- Soft ware class CR-10

- 5 ml volumetric flasks

- Membrane filtration kits

Reagents:

- Sodium sulphate     (AR grade)

- H2SO4	(AR grade)

- Double distilled water

| HPLC Conditions: |
| --- |
| Column | Altima C18 5 Micron (4.6x250mm) |
| Wave Length | 210 nm |
| Flow Rate | 1 ml/minute |
| Volume of Injection | 20Ml |
| Temperature | 25°C±2°C |
| System | isocratic |
| Run Time | 12 Minutes |

Mobile Phase:

Prepare 0.05 molar sodium sulphate solution in water (7.1 gm /1 liter) and adjust pH to 2.3 with H2SO4 (AR grade).

Solvent:	Adjust Water pH to 2.1 with H2SO4.

Retention Time:     -4.5 minutes

(-)-HCA Standard Preparation:

Weigh accurately about 5mg of Reference Standard into a 5 ml volumetric flask, dissolve and make up to volume with solvent.

Sample Preparation:

Weigh accurately about 5mg of Reference Standard into a 5 ml volumetric flask, dissolve and make up to volume with solvent.

Procedure:

Shake well. Filter both standard and sample solutions through 0.45м membrane filter and inject.

Calculation:

Peak area of sample x conc. of std. x purity of std.

Peak area of std., x conc. of sample                                =

ESTIMATION OF CALCIUM

Reagents:

1)	EDTA(O.OIM)

Dissolve 3.72 gm of Disodium salt of Ethylene diamine tetraacetic acid in sufficient water to produce 1000ml.

2)	Ammonia-Ammonium Chloride Buffer

Dissolve 67.5gm of Ammonium chloride in about 200ml of water and add 740 ml of strong Ammonia solution and dilute to 1000ml with water.

3)	Mordant Black-T Mixture

Mix Eriochrome black T and KNO3 in a ratio of 2:98.

Procedure:

Weigh accurately about 10mg of sample into a 100ml Conical flask, dissolve it in 50 ml of distilled water. Add 2ml of Ammonia-ammonium Chloride buffer. Then titrate with 0.01 M EDTA solution. Using mordant Black-T Mixture as indicator. End point is blue.

% of Calcium = Titre Value x Molaritv of EDTA x 0.4x100

0.01xWeight of the sample in mg