Analysis of Charantin in Bitter Melon Extract by HPLC

- Instrument

System Gold HPLC (Backman Inc., U.S.A.)

- Sample Preparation

Weight 300mg Bitter Melon Extract ,dissolve with 15ml methanol.Filter the solution,make the volume to 25ml with methanol.Filter sample solution with 0.5u m membrane.

- HPLC Condition

Column :     Nova Pak C18(250mm×4.6mm,5um)

Mobile Phase: Methanol:H2O=35:65

Flow Rate:   1.0ml/min

Detector:    UV Detector 230nm

Injection:    20ul

Temperature: 40C

- Standard Solution

5mg pure standard Charantin dissolve in 5ml methanol to obtain 1mg/ml standard solution.